DIN rail mounting bracket for cable splitter M20

DIN rail mounting bracket, accepts cable splitter ODS/M20 or M20 cable gland,

suitable for DIN mounting rails

suitable for retro-fit installations.

Requirements:

Material: Steel

Height: approx. 38.0 mm

Width: approx. 35.0 mm

Depth: approx. 29.5 mm in total

Sheet thickness: 1.5 mm

Number of mounting holes: 3

Number of mounting clamps: 1

Manufacturer: Telegärtner

Type: DIN rail mount bracket ODS/M20

Part no.: 100022653