# HD module 0.5 HU, 6 x SMA 50 Ohms

for the connection of coaxial cables;

to be used in HD3 modular patch panels,

self-locking mechanism with spring steel latches;

front panel features 6 SMA couplers 50 Ohms. Couplers are installed inline.

Cable fixations for 6 cables.

Features:

Width:       102.5 mm

Height:      17.5 mm

Depth:       90.0 mm

Material:    0.7 mm sheet steel

Surface:     conductive for improved bonding

Colour:      black

Manufacturer:    Telegärtner

Type:            HD3 module 0.5 HE 6 x SMA

Part No.:        H02025A4009