# HD module 1.0 HU, 6 x BNC 75 Ohms

for the connection of coaxial cables;

to be used in HD3 modular patch panels,

self-locking mechanism with spring steel latches;

front panel features 6 BNC couplers 75 Ohms. Couplers are installed in two lines for easy access.

Cable fixations for 6 cables.

Features:

Width:       102.5 mm

Height:      35.0 mm

Depth:       90.0 mm

Material:    0.7 mm sheet steel

Surface:     conductive for improved bonding

Colour:      black

Manufacturer:    Telegärtner

Type:            HD3 module 1.0 HE 6 x BNC

Part No.:        H02025A4010