# HD module 0.5 HU, for 6 x RJ45 STX

for the connection of twisted pair cables;

to be used in HD3 modular patch panels,

self-locking mechanism with spring steel latches;

front panel accepts up to 6 STX-type RJ45 modules.

Cable fixations for 6 cables.

Features:

Width:       102.5 mm

Height:      17.5 mm

Depth:       90.0 mm

Material:    0.7 mm sheet steel

Surface:     conductive for improved bonding

Colour:      black

Manufacturer:    Telegärtner

Type:            HD3 module 0.5 HU for 6 x RJ45

Part No.:        H02025A4011