# HD module 1.0 HU, for 8x RJ45 AMJ-S/Cat.8.1

accepts RJ45 modules for the connection of twisted pair cables;

to be used in HD3-ES modular patch panels,

tool-free mounting with knurled screw;

front panel accepts up to 8 RJ45 modules type AMJ-S or AMJ Cat.8.1.

Cable fixations for 8 cables.

Bonding connection with 6.3 mm blade receptacle.

Features:

Width:       118.0 mm

Height:      36.0 mm

Depth:       102.0 mm

Material:    0.9 mm sheet steel, painted

Colour:      black

Manufacturer:    Telegärtner

Type:            HD3-ES module 1.0 HU for 8x RJ45

Part No.:        H02025A4019