# 19” modular patch panel 3HU

Type HD3-ES

accepts modules for fiber optic and twisted pair cables,

accepts up to

- 12 modules of 1HU

- or 24 modules of 0.5HU

- or a mixture of both.

Recessed mounting in two positions using 19” mounting brackets possible,

Conductive surface for improved bonding, row of bonding connections with 6.3 mm blade receptacle for up to 24 bonding wires;

cable management bar can be installed and removed without any tools on the front.

Multi-purpose rail for easy cable routing, strain relief and installation of mounting brackets for M20 and M25 cable glands or ODS/M20 and ODS/M25 cable splitters.

Features:

Depth:           260mm

Heigth:          3HU

Material:        sheet steel

Colour:          black like RAL 9005

Manufacturer:    Telegärtner

Type:            HD3-ES modular patch panel 3HU

Part No.:        H02030A4028